Corrective and Preventive Action (CAPA) Record
CAPA number: _______________________________
Date opened: _______________________________
Owner: _______________________________
Source: _______________________________
Risk classification: _______________________________

1 — Problem description
Factual statement only: what was observed, when, where, how many units, which product/lot. No cause, no proposed fix
__________________________________________________________________________________________
__________________________________________________________________________________________
__________________________________________________________________________________________
2 — Immediate correction / containment
What you did to stop the bleeding — quarantine, rework, customer notification. This is CORRECTION, not corrective action
__________________________________________________________________________________________
__________________________________________________________________________________________
3 — Investigation and root cause
Method used (5 Whys, fishbone, fault tree) · evidence examined · verified root cause, not the first plausible one
__________________________________________________________________________________________
__________________________________________________________________________________________
__________________________________________________________________________________________
__________________________________________________________________________________________
4 — Risk assessment
Impact on product and patient/user · does this trigger a reporting or field-action decision · risk before and after
__________________________________________________________________________________________
__________________________________________________________________________________________
5 — Corrective action (ISO 13485 clause 8.5.2)
Action that eliminates the CAUSE of the detected nonconformity · owner · due date · proportionate to the risk
__________________________________________________________________________________________
__________________________________________________________________________________________
__________________________________________________________________________________________
6 — Preventive action (ISO 13485 clause 8.5.3)
Where else could this occur? Action on a POTENTIAL nonconformity elsewhere — a separate clause, not a copy of section 5
__________________________________________________________________________________________
__________________________________________________________________________________________
7 — Change control and documents updated
SOPs, work instructions, drawings, risk file, training records · reference the change request number
__________________________________________________________________________________________
__________________________________________________________________________________________
8 — Effectiveness verification
How you will prove it worked · acceptance criterion stated BEFORE the check · review date · evidence attached
__________________________________________________________________________________________
__________________________________________________________________________________________
__________________________________________________________________________________________
9 — Closure and approval
Closed by · date · management review reference — records in this section are inspectable under the QMSR
__________________________________________________________________________________________
__________________________________________________________________________________________
Free CAPA form — 5xwhys.com/articles/rca/capa/  ·  A CAPA closed without a stated acceptance criterion is a CAPA that will reopen




